Protocol: ATPase assay

Purpose of Procedure: To measure Pi release in a colorimetric assay, following the description by Chifflet (1988) Analytical Biochemistry 168: 1-4

Reagents Required (most of these are already prepared as they have a long shelf life) those underlined are made fresh on the day of the assay.

A) 12% SDS

B) 1% ammonium molybdate

C) 1M HCl

D) 2% sodium citrate (scavenges free molybdate), 2% sodium metaarsenite, 1% acetic acid

E) 6% ascorbate in 1M HCl

F) Stop solution (1:1 mixture of B and E made immediately before use)

G) 100 mM disodium ATP

H) ATPase buffer (50 mM Tris pH 7.4, 150 mM ammonium chloride, 5 mM MgSO4, 0.02% NaN3)

phosphate standards

Hazardous Chemicals Employed:

sodium azide

sodium metaarsenite

ammonium molybdate

ascorbate (Vitamin C)

DMSO (dimethylsulfoxide)

Procedure

- Standards are added to water to give a total volume of 50 μl per Pi concentration (see table below)

- Samples will be: 0.1 to 1 μg of pure protein, or 10 μg of membranes/impure protein. Pure protein should be at a concentration of ca. 0.1 μg/μl (use ATPase buffer for dilution if necessary). Membranes should be diluted to a concentration of 1 μg/μl in ATPase buffer.

- ATP, sample and drugs (if required) are added to each well of a 96-well plate giving a total volume of 50 μl (see tables below). Reaction is initiated by either the addition of ATP.

- Plates are then covered, and incubated typically for 20-25 minutes at 37C. Make a note of the exact time. It’s necessary for analysis.

- Add 40μl of 12% SDS rapidly to quench the reaction.

- Make up solution F (1:1 mixture of B and E) and add 100μl to each well. Incubate at room temperature for 5 minutes.

- Add 100 μl of solution D and incubate for 15 minutes at 37C

- Read the plate at an absorbance of 700-850nm

Standards

These are are 10.5 nmoles/μl. Dilute to 1 nmole/μl in water.

| nmoles Pi | μl stock Pi | μl MQ H2O |
| --- | --- | --- |
| 0 | 0 | 50 |
| 1 | 1 | 49 |
| 2 | 2 | 48 |
| 3 | 3 | 47 |
| 4 | 4 | 46 |
| 5 | 5 | 45 |
| 6 | 6 | 44 |
| 8 | 8 | 42 |
| 10 | 10 | 40 |
| 12 | 12 | 38 |
| 16 | 16 | 34 |
| 20 | 20 | 30 |

Samples

a) delta-ATP

- the purpose here is to measure the maximal velocity and relative affinity (Km) of the protein for ATP

- therefore the velocity is measured for a fixed period by varying the concentration of ATP

| ATP (mM) | μl stock | μl buffer | μl protein |
| --- | --- | --- | --- |
| * 0 | 0 | 40 | 10 |
| 0.1 | 5 | 35 | 10 |
| * 0.2 | 10 | 30 | 10 |
| * 0.4 | 20 | 20 | 10 |
| 0.6 | 6 | 34 | 10 |
| * 0.8 | 8 | 32 | 10 |
| 1 | 10 | 30 | 10 |
| * 1.25 | 12.5 | 27.5 | 10 |
| 1.5 | 15 | 25 | 10 |
| * 1.75 | 17.5 | 22.5 | 10 |
| 2 | 20 | 20 | 10 |
| * 2.5 | 25 | 15 | 10 |

- In bold are ATP from a stock of 1mM, the others are from 5 mM

- when doing this analysis ALWAYS include a lane with no protein in order to subtract the appropriate amount of background Pi release

- If short of protein use only those lanes marked *

- often a row containing 50μM verapamil is required. In such cases 7.5 μl of a 10-3M solution of verapamil in DMSO should be added to 150μl of protein (enough for one row of a plate)

other protein volumes can easily be incorporated......

| mM ATP | ATP μl | buffer μl | buffer | buffer | buffer | buffer |
| --- | --- | --- | --- | --- | --- | --- |
| 0 | 0 | 40 | 35 | 30 | 25 | 45 |
| 0.2 | 10 | 30 | 25 | 20 | 15 | 35 |
| 0.4 | 20 | 20 | 15 | 10 | 5 | 25 |
| 0.8 | 8 | 32 | 27 | 22 | 17 | 37 |
| 1.25 | 12.5 | 27.5 | 22.5 | 17.5 | 12.5 | 32.5 |
| 1.75 | 17.5 | 22.5 | 17.5 | 12.5 | 7.5 | 27.5 |
| protein volume => |  | 10 | 15 | 20 | 25 | 5 |

b) delta Verapamil (and can be adapted for any other stimulator you wish to examine)

- The purpose of this type of experiment is to examine the potency of interaction between substrate and the protein ie. measurement of a drug EC50 concentration. That is the concentration of drug that half-maximally stimulates the ATPase activity.

- Velocity is measured a fixed ATP concentration for a defined period of time with varying amounts of verapamil or other substrate.

- the concentration of ATP used is 2mM final

- all dilutions of verapamil are to be done in DMSO and should only be added to well after the protein is in situ in order to prevent non-specific loss onto plasticware

- verapamil and other drugs are light sensitive compounds and work should be carried out in subdued lighting

- the reaction should be started with the addition of ATP, i.e. add the reagents in the order buffer, protein, verapamil and then ATP

| [verapamil] | 2 μl stock | Protein | μl buffer | ATP μl 10mM stock |
| --- | --- | --- | --- | --- |
| 0 | DMSO | 10 | 30 | 10 |
| 3.00E-08 | 7.5E-07 | 10 | 30 | 10 |
| 1.00E-07 | 2.5E-06 | 10 | 30 | 10 |
| 3.00E-07 | 7.5E-06 | 10 | 30 | 10 |
| 1.00E-06 | 2.5E-05 | 10 | 30 | 10 |
| 3.00E-06 | 7.5E-05 | 10 | 30 | 10 |
| 1.00E-05 | 2.5E-04 | 10 | 30 | 10 |
| 3.00E-05 | 7.5E-04 | 10 | 30 | 10 |
| 1.00E-04 | 2.5E-03 | 10 | 30 | 10 |
| 3.00E-04 | 7.5E-03 | 10 | 30 | 10 |
| 1.00E-03 | 2.5E-02 | 10 | 30 | 10 |
| blank Pi | DMSO | 0 | 40 | 10 |

For ABCG2, the best stimulators of ATPase activity appear to be prazosin at low micromolar concentrations (up to 20 μM), nifedipine (similar concentrations) and EKI-785 at sub-micromolar concentrations (up to 1 μM).