Protocol: Preparation of Electro-Competent Cells and Bacterial Transformation

Purpose of Procedure: To get foreign DNA into bacteria

Reagents Required:

glycerol

SOC medium: 20g bacto-tryptone, 5g yeast extract, 0.5 g NaCl per litre. Autoclave on a liquid cycle. When cool, add 20 ml filter sterilised 1M glucose.

Hazardous Chemicals Employed:

Procedure

A) Preparation of Electro-Competent Cells

NB. This entire process should be sterile if possible.

1. In a large (2 litre) flask, innoculate 400 ml bottle of L-broth with 1/100th the volume of a fresh overnight culture. (ie 4mls).

2. Grow cells at 37C with vigorous shaking until an OD600 of 0.3. This will take at least 2 hours.

3. Chill the cells on ice for 15 to 30 minutes.

4. While chilling, cool the centrifueg down to 5C and ensure that the rotors are also ice-cold.

5. Dispense the culture into 8 50ml Falcon tubes (45 - 50 mls per tube). This requires sterile transfer. Check balance of rotors. Spin at 3500g for 12-15 minutes.

6. Resuspend pellets in 50mls (each) of sterile distilled water. Do this by gentle vortexing. Repeat centrifugation.

7. Resuspend pellets in 200 in 25 mls (each) of distilled water. Repeat centrifugation

8. Resuspend the pellets each in 2ml of sterile 10% glycerol. Combine the resuspensions and spin (against a balanced Falcon tube) for 12 minutes at 3500g.

9. Resuspend the pellet in 2mls of 10% glycerol and freeze in 200 l aliquots at -80C by flash-freezing in dry-ice ethanol. Cells should be ok for 6 months under these conditions. 40 l aliquots are requried for transformation.

10. The cell concentration should be 3 x 1010 cells/ml.

B) Electro-Transformation

NB. Steps 4-9 of this procedure should be carried out with minimal delay. This will ensure a good transformation efficiency.

NB. Make up small amounts of SOB in 50 ml glass bottles and sterilise by autoclaving. Add glucose to a final concentration of 20 mM when required. These are easier to handle and should make electroporation easier to perform.

1. Chill the cuvettes and the cuvette holder on ice.

2. Ensure the electro pulser is at 2.5 kV

3. Gently thaw some aliquots of competent cells on ice.

4. When thawed, add 1 to 5 l of DNA and allow to sit for ca. 1 minute.

5. Transfer the mixture of cells/DNA to a cuvette. Dry the cuvette.

6. Pulse on the above settings. A time constant of ca. 5 ms is a good indicator. Time pulse = length of pulse. Lower pulse times indicates a large salt concentration. Sparking also indicates a high salt concentration (or too much DNA) or not drying the cuvette.

7. Immediately add 950 l of SOC medium (SOB + 20 mM glucose) at room temperature to the cuvette, and quickly remix cells.

8. Decant mixture back into eppendorf.

9. Incubate in a water bath with occasional agitation at 37C for 1 hour.

10. Plate aliquots onto plates containing the required selection agent.