Protocol:  Membrane Fractionation By Iodixanol Density Gradient

Theory: Iodixanol (Optiprep) is a compound (see figure) that can form a gradient during centrifugation. Thus it should be a reliable and reproducible way to generate sub-cellular fractions. Iodixanol concentrations are usually measure by refractive index. A cheap hand-held refractometer will measure Brix, which is % sucrose. So in the protocol below, iodixanol concentrations are related to Brix where necessary (Step 7) to enable accurate setting up of the centrifugations. Iodixanol can be bought as a 60% solution from Sigma under the name of Optiprep. Note that iodixanol gradients do not separate cellular organelles as cleanly as sucrose gradients

Reagents Required:

Homogenisation Buffer (0.25M sucrose, 10mM HEPES-OH, pH 7.4). No reason why it has to be HEPES buffered sucrose. Could easily be phosphate or Tris.

Iodixanol working solution (10mM HEPES-OH, pH 7.4, 50% Iodixanol)

Protease Inhibitors

All iodixanol solutions of lower concentration should be prepared using homogenization buffer as the diluent.

Procedure (optimised for working with plant material but should work regardless of the origin of the tissue)

If using cell pellets steps 1-3 can be omitted.

1. Cut frozen/fresh tissue into small pieces (~5mm long).

2. Homogenize the tissue using mechanical homogeniser or similar disruption device.

3. Add 15ml Homogenisation Buffer per gram tissue with protease inhibitor and filter homogenate through 4 layers of muslin cloth.

4. Spin down supernatant at 2000g, 5 minutes, 4ºC.

5. The pellet (P1) should correspond to unbroken cells. Retain a small aliquot of the supernatant (S1) for analysis. Load the supernatant (S1) onto a 2ml 18% Iodixanol cushion. Do this gently. You don’t want to mix the S1 with the cushion. It should sit nicely on top of the 18% iodixanol.

6. Spin supernatant at 100 000g,  4ºC (SW41 rotor) for 60 minutes

7. Collect microsomes membrane (P2) at the interface between the iodixanol and the sucrose fractions. Measure the refractive index and adjust the refractive index to 22 Brix (equivalent to 16% Iodixanol). Transfer to an NVT rotor tube. Keep a tiny aliquot of P2 fo analysis.

8. Top up the NVT tubes with 16% Iodixanol (~ 5 ml) and centrifuge 350,000g, 4ºC for 3 hour using NVT65 rotor.

9. Collect 0.5 ml fraction  using a collection device (a fraction collector is best, but it can be done manually with a steady hand). Measure the refractive index to confirm that a gradient has self-formed.

10. Dilute each fraction with 0.8 ml cold ddH20 and spin 60,000 g for 45 minutes

11. Resuspend the pelleted membrane fractions (P3) in 500l 4% SDS loading buffer and run 7-10 l in 8-10% SDS gel

Refs.

Graham J, Ford T, Rickwood D. The preparation of subcellular organelles from mouse liver in self-generated gradients of iodixanol. Anal Biochem. 1994 220:367-73.

Ford T, Graham J, Rickwood D. Iodixanol: a nonionic iso-osmotic centrifugation medium for the formation of self-generated gradients. Anal Biochem. 1994 220:360-6.

Dunkley TP, Watson R, Griffin JL, Dupree P, Lilley KS. Localization of organelle proteins by isotope tagging (LOPIT). Mol Cell Proteomics. 2004 11:1128-34.