Protocol: TCA precipitation

Purpose of Procedure: Precipitation of proteins prior to gel electrophoresis for samples of low concentration

Reagents Required:

72% TCA (trichloroacetic acid)

0.15% deoxycholate

resuspension buffer: 4% SDS, 0.2M Tris pH 7.4, 0.15 M NaOH (final pH ca. 10)

acetone

4 x protein sample buffer: see SDS-PAGE electrophoresis protocol

Hazardous Chemicals Employed:

TCA

deoxycholate

SDS

NaOH

acetone

TCA Precipitation Procedure

- Add 1/10th volume of 0.15% deoxycholate

- Vortex, incubate for 10 minutes at room temperature

- Add 1/10th original volume of 72% TCA solution

- Incubate for 5 minutes at room temperature.

- Spin at maximum speed in a microcentrifuge for 8 minutes.

- Remove supernatant with a needle and syringe

- Resuspend pellet in a 3:1 solution of resuspension buffer:protein sample buffer

- If the dye is yellow it indicates that there is excess acid in the sample. Add 1 drop

of NaOH to remedy this)

- Heat and load on a gel. Don't be surprised if precipitated samples run strangely. Their pH may be different from other samples. Preferably do not run precipitated and unprecipitated samples on the same gel.

Acetone Precipitation Procedure

- Add 1 volume of protein to 4 volumes of acetone

- Allow to precipitate for 5 minutes (on ice or at room temperature)

- Centrifuge 5 minutes in a bench-top microfuge at top speed

- Remove as much solvent as possible with a pipette top

- Allow the pellet to air-dry for 15-30 minutes

- Resuspend pellet in 1X SDS-PAGE sample buffer

- Heat and load on a gel.