Transport of Dangerous Goods from UoN – Sender Questionnaire V1

Refer to UoN guidance before completing

| Sender |  |
| --- | --- |
| Lab Number and phone |  |
| Item being shipped |  | Project code: |
| Quantity/Volume incl unit |  |
| Biological Agent complete section 1 , Chemical/other complete section 2 |
| Section 1: Biological |
| Description: Please include ACDP hazard group For example: HG1 Cell lines, HG1 wild type, Naked NA, plasmid, liposome gene |  |
| Other materials within the sample? (e.g. preservative liquid) NB: no allowance under GM | Yes / No |
|  | Description: |
|  | Hazards: | Volume: |
| Live Culture? | Yes / No |
| Is it Genetically Modified? | Yes / No |
| Which GM Class is it assigned? | I/II |
| Will it be shipped on dry ice? | Yes / No |
| Section 2: Chemicals /other |
| Description: (include CAS number) |  |
| COSHH Hazard codes (refer to MSDS) |  |
| Will it be shipped on dry ice? | Yes / No |
| De-minimus Quantity? | Yes / No |
| Excepted Quantity? | Yes / No |
| Shipping Info- please complete as much as possible |
| Destination of Goods |  |
| Will these goods be accepted at the country of destination? |  |
| Recipient notified of goods being shipped? |  |
| Expected Transport Route? |  |
| Are these goods acceptable for transit through these countries? |  |
| Customs / licences checked? (if applicable) |  |

| Expected Classification of package (Tick all that apply) | ( | Packing Requirements | Labelling requirements |
| --- | --- | --- | --- |
| Not Subject to regulations |  | Packaged to survive transport, including containment against spills and sufficient absorbent material where applicable. | Label box and courier paperwork with proper shipping name (PSN) ‘NOT SUBJECT TO REGULATIONS’ |
| Biological Substance Category B - UN 3373 |  | Packing instruction 650 Primary leak-proof container (e.g. universal) Secondary leak-proof container (e.g. zip lock bag or other container/pot) capable of withstanding a 95 kPa pressure test. Sufficient absorbent material to absorb all the liquid Contents list within the box outside of the secondary container. Good quality rigid box min size 10cmx10cm The package must withstand a droptest of 1.2m and the contents remain intact. | UN 3373 diamond sticky label on the box The following needs writing on the box; the Proper Shipping Name (PSN) ‘Biological Substance Category B’, Address of Consignor and Consignee, Name and Telephone number of responsible person. PSN on courier paperwork Biological Substance Category B’, Net Quantity of goods Directional arrow Labels are required for volumes over 50ml/50g |
| Dry Ice - UN class 9 |  | Packing instruction 904 Dry ice must be placed outside the secondary receptacle. It must not be placed inside the primary or secondary receptacle because of the risk of explosion. The secondary receptacle must be secured within the outer packaging to prevent damage after the ice has dissipated. Packaging must permit release of gas to prevent pressure build up. Styrofoam boxes must not be taped shut. The box must safely vent without rupturing. An outer cardboard box must be used if the item is UN3373. | Class 9 Hazard Label on the box including quantity of Dry Ice on label) UN1845 label and net weight The following needs writing on the box ; the Proper Shipping Name (PSN) DRY ICE, shipper and consignee names and addresses PSN on courier paperwork ‘DRY ICE’ |
| Genetically Modified Organism - UN3245 Genetically Modified organism |  | Packing instruction 959 Primary in leak-proof container (universal) Secondary leak-proof container (e.g. zip lock bag or other container/pot) capable of withstanding a 95KPA pressure test. Sufficient absorbent material to absorb all the liquid Good quality rigid box The package must withstand a droptest of 1.2m and the contents remain intact. | The following needs writing on the box the Address of Consignor and Consignee, Name and Telephone number of responsible person. PSN ‘Genetically Modified Organism’ on courier paperwork. UN 3245 Diamond sticky label on the box Net Quantity of goods Directional arrow Labels are required for volumes over 50ml/50g |
| Category A UN2814 Infectious substance affecting humans. |  | Packing instruction 620- provided by specialist courier |
| Category A UN2900 Infectious substance affecting animals. |  | Packing instruction 620- provided by specialist courier |
| De-minimus Quantity |  | Packed to survive transport, including containment against spills and sufficient absorbent material where applicable. | Not subject to regulations, no labelling required on the paperwork or the box. |
| Chemicals – Excepted Quantity |  |  |  |
| Dry Shipper UN3511 Absorbed Gas-liquid Nitrogen |  | The Dry shipper is the packaging | Need green cylinder label, contents and address details. |
| I confirm I have packaged and labelled in accordance with the above and the contents are securely packaged as not to rattle and I have performed a Drop Test of the box and there is enough absorbent material present. Consignee Sign and Date ………………………………………………………………………………… |

Consignment Approval checklist for Transport of Dangerous Goods

All sections must be a yes/pass before shipping is allowed to proceed, any issues report to consignment approver.

| Signed Sender Questionnaire from end user | Yes/No | Sign and Date |
| --- | --- | --- |
| Agreed classification of package to ship by Transport Approver | Yes/No |  |
| Good quality box used, minimum size 10x10cm | Pass/Fail |  |
| Shake Test of the box undertaken, any rattling from inadequate packing must be rejected | Pass/Fail |  |
| Proper shipping name on the Courier paperwork and the box e.g. Dry Ice, Biological Substance Category B, Genetically Modified Organism’ Not Subject to Regulations. | Yes/No |  |
| Correct stickers/labels on the box e.g. Dry Ice, UN 3245 for GM and UN 3373 for Cat B substance | Yes/No |  |
| Net Qty on the box | Yes/No |  |
| Box has consignee and consigner information written on it and telephone No of responsible person (UN3373) | Yes/No |  |
| Check end user has not sealed the box that contains dry ice, must be rigid cardboard box if UN 3373 | Yes/No |  |